## MTQ-AA00737-FSS
To, | [8 empty] | gap | [7 empty] | 19.75%
Mohamad Ashraf,
Pioneer Engineering, |  |  |  | Qutation # : MTQ-AA01173-FPS-A0
Date :03-JAN-2026
Karachi,Pakistan. |  |  |  | Date ¦ Rev # : 06-JAN-2026 ¦ A0 | [5 empty] | Supply | [10 empty] | Installation | [9 empty] | Testing & Commissiong |  |  |  | Before TAXATION |  | Taxation |  |  |  | After TAXATION |  | Final Rate ¦ Amount |  | Final Rate ¦ Amount
QUOTATION FOR Fire Fighting Equipments for Imtiaz Super Market Safora Goth, PAKISTAN. (Supply Only)
[13 empty] | Material |  | Importation |  | Origin to Destination Transportation |  | Our Profit |  | Manpower |  | Fittings |  | Flushing |  | Painting |  | Drawings |  | Testing |  | Commissioning |  | Total @ (S+I+T&C) | Total PKR (S+I+T&C) | GST 18% |  | Provisional Sales Tax B-13% ¦ S-13% ¦ P-13% ¦ K-13% ¦ I-13% |  | ( S+I+T&C + GST + ST ) @ | ( S+I+T&C + GST + ST ) PKR | WHT @ | G Total | Other Prifit @ | G Total
S.NO | DESCRIPTION | QTY | UNIT | Supply Unit Rate | Supply Amount | Installation Unit Rate | Installation Amount | TOTAL AMOUNT | Region / Brand | Local Imported / Local List Price | Imorted List Prices USD | 1 USD = 300 PKR | Discount 40% PKR @ | per product cost PKR | Imporation NDG 13.75% ¦ DG 19.75% PKR @ | per product Importation PKR | Origin to Destination Transportation 1% Default + 1% for Ex KHI PKR @ | per product Origin to Destination Transportation PKR | our Profit 15% Default local OR 15% Imported Item PKR | per product our profit PKR | Manpower 15% Default + 10% of Pipe PKR | per product Manpower PKR | Fittings 15% + 10% for Pipe PKR @ | per product Fittings PKR | Flushing 0% of Total Pipe Cost | per product Flushing PKR | Painting 0% of Total Pipe Cost | per product Painting PKR | Drawing 0% of Total Pipe Cost | per product Drawing PKR | Testing 0% of Total Pipe Cost | per product Testing PKR | Commissioning 10% of Total Pipe Cost | per product CommissioningPKR | Total @ | Total PKR | GST 18% @ | Total GST per product | Sale Tax 13% @ | Total Sale Tax per product | Total @ Non WHT | Total PKR Non WHT | Total @ 0% WHT | Total PKR WHT per product | Total @ 0% Other Profit | Total PKR WHT per product
[12 empty] | 300 | 60% |  | 13.75% |  | 1% |  | 15% |  | 10% |  | 10% |  | 0% |  | 0% |  | 0% |  | 0% |  | 10% |  |  |  | 18% |  | 13% |  |  |  | 0% |  | 0%
A | Fire Fighting Equipments | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.1 | FIRE FIGHTING SERVICES |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.2 | Automatic Fire Extinguisher (Clean Agent) 6kg Zone-1 (Boundary Wall, Generator, Dormitory, Store, Pump Room), Zone-2, Museum, Viewing Deck | 12 | Nos |  | 0 | 0 | 0 | 0 | Brand: Locally | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.3 | Fire Blanket Zone-1 (Kitchen), Zone-2, Museum, Café Building Fire Blanket, White Colour, with Black Strip, Hard Flat PVC Case in Red Colour, Size 1.2mx1.8m, Model LFB | 6 | Nos |  | 0 | 0 | 0 | 0 | Brand: LIFECO | 0 | 30 | 9000 | 5400 | 32400 | 0 | 0 | 108 | 648 | 810 | 4860 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.4 | Wet Chemical Extinguisher 03 Liters Kitchen (Zone-1) | 1 | Nos |  | 0 | 0 | 0 | 0 | Brand: LIFECO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.5 | DCP Fire Extinguisher 6kg Pump Room, Zone-2, Museum, Café Building Extinguisher, Portable 6 kg ABC Powder, 34A&183B, BSI KM Approved, LIFECO-UK, Model LF-PDP-6 | 8 | Nos |  | 0 | 0 | 0 |  | Brand LIFECO | 0 | 38.47 | 11541 | 6924.6 | 55396.8 | 952.1325 | 7617.06 | 138.492 | 1107.936 | 1038.69 | 8309.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9053.9145 | 72431.316 | 0 | 0 | 0 | 0 | 9053.9145 | 72431.316 | 9053.9145 | 72431.316 | 9053.9145 | 72431.316
A.6 | Pump Room, Zone-2, Museum, Café Building 5kg Pump Room, Zone-2, Museum, Café Building | 8 | Nos. |  | 0 | 0 | 0 | 0 | Brand: LIFECO | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.7 | Fire Hose Cabinet (FHC)Class-III, Double Compartment Zone-2, Museum, Café Building, Souvenir Shop | 10 | Nos. |  | 0 | 0 | 0 | 0 | Brand: LIFECO | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.8 | Sprinkler Heads Upright / Pendant / Concealed Car Parking, False Ceiling, Exposed Areas | 11 | Nos. |  | 0 | 0 | 0 | 0 | Brand: LIFECO | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Consealed Sprinkler Room Near Services Area Parking (Zone-1) LIFECO-UK Fire Sprinkler, Concealed Pendent Type, 1/2", Sprinkler Temperature Ratings 57 °C & Cover Temperature Ratings 57 °C , K-Factor 5.6 (80), Standard Response, Chrome Plate Color, UL Listed, Model LF830 | 23 | Nos | [6 empty] | 0 | 15.08 | 4524 | 2714.4 | 62431.2 | #VALUE! | #VALUE! | 54.288 | 1248.624 | 407.16 | 9364.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Consealed Sprinkler Lower Floor plan (Zone-2) LIFECO-UK Fire Sprinkler, Concealed Pendent Type, 1/2", Sprinkler Temperature Ratings 68 °C & Cover Temperature Ratings 57 °C , K-Factor 5.6 (80), Standard Response, Chrome Plate Color, UL Listed, Model LF830 | 19 | Nos | [6 empty] | 0 | 15.08 | 4524 | 2714.4 | 51573.6 | #VALUE! | #VALUE! | 54.288 | 1031.472 | 407.16 | 7736.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Upright Sprinkler Museum Floor plan(Zone-2) LIFECO-UK Fire Sprinkler, Upright Type, 1/2", Temperature Ratings 57 °C, K-Factor 5.6 (80), Standard Response, Chrome Plated, UL/FM Approved, Model LF610 | 8 | Nos | [6 empty] | 0 | 3 .77
| Concealed Sprinkler Ground Floor plan (Zone-4) LIFECO-UK Fire Sprinkler, Concealed Pendent Type, 1/2", Sprinkler Temperature Ratings 68 °C & Cover Temperature Ratings 57 °C , K-Factor 5.6 (80), Standard Response, Chrome Plate Color, UL Listed, Model LF830 | 16 | Nos | [6 empty] | 0 | 15.08 | 4524
| Concealed Sprinkler First Floor plan (Zone-4) LIFECO-UK Fire Sprinkler, Concealed Pendent Type, 1/2", Sprinkler Temperature Ratings 68 °C & Cover Temperature Ratings 57 °C , K-Factor 5.6 (80), Standard Response, Chrome Plate Color, UL Listed, Model LF830 | 16 | Nos | [6 empty] | 0 | 15.08 | 4524
A.9 | Zone Control Valve (ZCV)Standard Zone-2, Museum, Café Building | 6 | Nos | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.10 | Breeching Inlet 4-Way External façade (Monument & Café) | External Façade | [6 empty] | Brand: LIFECO | 0 |  | 0 | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE!
A.11 | Pump Accessories Gate Valve, Ball Valve, NRV, Flexible Coupling, Suction & Delivery Manifold, Pressure Gauge, Pressure Switch, Battery Pump room | 1 | Lot | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A.12 | Fire Hose Reel Cabinet Holder Fabricated Steel Typical Detail | As required | [6 empty] | Brand: LIFECO | 0 |  | 0 | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE!
A.13 | pipe Network MS Seamless Schedule-40 Ø1”, Ø1-1/2”, Ø2”, Ø2-1/2”, Ø6” | Entire Project | [7 empty] | 0 | 0 | 0 | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | 0 | #VALUE!
A.14 | Personal Protective Equipment (PPE) Standard Zone-2, Café Building | 1 | Lot | [5 empty] | Brand: LIFECO | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Sub Total - A |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SUB TOTAL A Before Taxes = |  |  |  | 0 |  | 0 | 0 | [5 empty] | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE!
The Above Quote Price is based on BOQ shared by client. Any other Additional Items if required by client will be charged Accordingly. |  | GST @ 18% = |  |  | 0 | PRA @ 16% = | 0 | 0
|  | After GST = |  |  | 0 | After PRA = | 0 | 0 |  |  |  | #REF!
|  | WHT Tax 5% = |  |  | 0 |  | 0 | 0
|  | Grand TOTAL Payable = |  |  | 0 |  | 0 | 0
[14 empty] | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE!
Terms and Conditions
Payment & Taxes Terms:
- Price are as per actual basis.
- GST Tax is mentioned separately on Supply Rates
- Service Tax is mentioned separately on Installation Rates.
- Currency : Unit of Currency of this quotations is PKR .
- Payment : 30% Advance Payment and 60% on Order Confirmation and 10% on Delivery.
- Payment : 100% Advance Payment after Order Confirmation and Advance Payment.
Delivery Terms:
- Stock Available in EX Pakistan.
- Items will be delivered in 8 to 12 working weeks after order confirmation.
Warranty Terms:
- This Warranty covers the defects resulting from defective parts, items, materials or manufacturing if such defects are revealed during the period of 12 months since the date of purchase.
- The Warranty does not cover consumables or parts of limited regular functionality due to their natural wear and tear.
- The Warranty does not cover Damages: Mechanical or electric damages resulting from incorrect installation, configuration, usage, Improper Maintenance or other activities incompatible with the operation manual or contradictory to technical specifications of the product.
- The Warranty does not cover Damages caused by acts of God, floods, fires, lighting or other natural disasters, wars, unexpected events, inappropriate voltage or other external factors
- The Warranty does not cover Damages result as a result of using chemical cleaning materials made.
Validity Terms:
- Quotation validity is 20 days. | [9 empty] | 100100101010
- Due to currency devaluation, Seller will reserve the right to adjust their prices if the exchange rate varies greater than +1% of the Quotation Value.
Transportation/Accommodation/Food/Power for Work Terms:
- Prices Equipments are for Ex-Karachi. Any further transportation from Karachi to Turbat will be in client's scope.
- Power for the Work at Site will be in client's scope.
- Travelling and Residence of Team from Karachi to Turbat will be in client's scope.
- Continuous Supply of Storage will be in client's scope.
PO Terms:
- After placing the Purchase Order, Any item if cancelled by client, 30% of its value shall be charged conditioned with MyTech acceptance on the same.
- The Prices in the above Quotation are based on Total Purchase, No Partial Purchase shall be accepted.
- Purchase Orders must contain our Quotation Number for which it is issue.
General Terms:
- If Quotation finally gets the winning marks, then LOI must be shared with us before Purchase Order.
- This agreement shall be performed by the BUYER and the SUPPLIER with sincerity. Any questions arising in connection with this agreement, which are not resolved by the clauses of this agreement shall be promptly resolved through good faith discussion between both parties so as o reach consensus amicably.
- This agreement is to be governed by, and interpreted strictly in accordance with the laws of Islamic Republic of Pakistan.
Address:
House # B-278, Basement Floor, Block-1/A, Gulistan-e-Jauhar, Karachi, Pakistan.
Approved by: |  |  | Prepared by:
Mr. Munawar Hasan |  |  | Engr. Muhammad Huzefa
Director Sales & Projects |  |  | Estimation & Design Engineer
+92-300-9233273 |  |  | +92-306-7666644
munawar.hasan@mytecheng.com |  |  | m.huzefa@mytecheng.com
Note on T9: Profit Statements: - 30% more added when we import - default 15% set for local imported or pure local items
Note on V9: Manpower Statements: - 10% more added to default 5% item related to Rft like pipe like default 5% for Manpower required for entinguisher installation while 10% more for Manpower required for pipe installation
Note on X9: Manpower Statements: - 10% more added to default 5% item related to Rft like pipe like default 5% for Fitting required for entinguisher installation while 10% more for Fitting required for pipe installation

## Sheet1
S.NO | DESCRIPTION | QTY | UNIT | Supply Unit Rate | Supply Amount
A | FACP & Batteries
A.1 | Supply of Addressable fire Suppression Control Panel. Previdia Max Series. UL Listed | 1 | Each | 0 | 0
A.2 | Supply of Batteries for Panel & Power Supply | 2 | Each | 0 | 0
B | ROOM-B ¦ 25' X 20' X 12' |  |  | 0 | 0
B.1 | Supply of Photo Electric smoke with Base INIM | 6 | Each | 0 | 0
B.2 | Supply of Manual Pull Station for Fire Suppression release INIM | 1 | Each | 0 | 0
B.3 | Supply of Sounder with flasher INIM | 1 | Each | 0 | 0
B.4 | Supply of Fire Alarm INIM | 1 | Each | 0 | 0
B.5 | Supply of Control Module INIM UL Listed | 1 | Each | 0 | 0
B.6 | Supply of Monitor Module INIM UL Listed | 5 | Each | 0 | 0
B.7 | Supply of System Abort Switch INIM INIM | 1 | Each | 0 | 0
B.8 | Supply of Zone Disable switch INIM INIM | 1 | Each | 0 | 0
B.9 | Supply of Relay Module INIM UL Listed | 1 | Each | 0 | 0
B.10 | Supply of Vesda VLF 250 with piping networking & accessories. | 1 | Each | 0 | 0
B.11 | Supply of Electrical wiring 1.5mm 2C (FR) & conduiting, back boxes etc. | 1 | Job | 0 | 0
B.12 | Supply of Container Assembly (Cylinder) with Accessories of cylinder. With 116 KG Novec 1230. Low Pressure Switch, Discharge pressure Switch, Actuator Supervisory switch UL Liisted Pe-Mall USA | 1 | Each | 0 | 0
B.13 | Supply of Discharge Nozzle Assembly 360 angle NPT Thread | 4 | Each | 0 | 0
B.14 | Supply of Exit Area Novec 1230 sign | 1 | Each | 0 | 0
B.15 | Supply of Piping network Sch 40 MS, & paint | 1 | Job | 0 | 0
B.16 | Supply of Flame Resistant paint | 1 | Job | 0 | 0
C | ROOM-C ¦ 10' X 9.5' X 12' |  |  | 0 | 0
B.1 | Supply of Photo Electric smoke with Base INIM | 1 | Each | 0 | 0
B.2 | Supply of Manual Pull Station for Fire Suppression release INIM | 1 | Each | 0 | 0
B.3 | Supply of Sounder with flasher INIM | 1 | Each | 0 | 0
B.4 | Supply of Fire Alarm INIM Bell | 1 | Each | 0 | 0
B.5 | Supply of Control Module INIM UL Listed | 1 | Each | 0 | 0
B.6 | Supply of Monitor Module INIM UL Listed | 1 | Each | 0 | 0
B.7 | Supply of System Abort Switch INIM | 1 | Each | 0 | 0
B.8 | Supply of Zone Disable switch INIM | 1 | Each | 0 | 0
B.9 | Supply of Relay Module INIM UL Listed | 1 | Each | 0 | 0
B.10 | Supply of Vesda VLF 250 with piping networking & accessories. | 1 | Each | 0 | 0
B.11 | Supply of Electrical wiring 1.5mm 2C (FR) & conduiting, back boxes etc. | 1 | Job | 0 | 0
B.12 | Supply of Container Assembly (Cylinder) with Accessories of cylinder. With 23 KG Novec 1230. Low Pressure Switch, Discharge pressure Switch, Actuator Supervisory switch UL Liisted Pe-Mall USA | 1 | Each | 0 | 0
B.13 | Supply of Discharge Nozzle Assembly 360 angle NPT Thread | 1 | Each | 0 | 0
B.14 | Supply of Exit Area Novec 1230 sign | 1 | Each | 0 | 0
B.15 | Supply of Piping network Sch 40 MS, & paint | 1 | Job | 0 | 0
B.16 | Supply of Flame Resistant paint | 1 | Job | 0 | 0
D | ROOM-D ¦ 10' X 9.5' X 12' |  |  | 0 | 0
B.1 | Supply of Photo Electric smoke with Base INIM | 1 | Each | 0 | 0
B.2 | Supply of Manual Pull Station for Fire Suppression release INIM | 1 | Each | 0 | 0
B.3 | Supply of Sounder with flasher INIM | 1 | Each | 0 | 0
B.4 | Supply of Fire Alarm INIM Bell | 1 | Each | 0 | 0
B.5 | Supply of Control Module INIM UL Listed | 1 | Each | 0 | 0
B.6 | Supply of Monitor Module INIM UL Listed | 1 | Each | 0 | 0
B.7 | Supply of System Abort Switch INIM | 1 | Each | 0 | 0
B.8 | Supply of Zone Disable switch INIM | 1 | Each | 0 | 0
B.9 | Supply of Relay Module INIM UL Listed | 1 | Each | 0 | 0
B.10 | Supply of Vesda VLF 250 with piping networking & accessories. | 1 | Each | 0 | 0
B.11 | Supply of Electrical wiring 1.5mm 2C (FR) & conduiting, back boxes etc. | 1 | Job | 0 | 0
B.12 | Supply of Container Assembly (Cylinder) with Accessories of cylinder. With 23 KG Novec 1230. Low Pressure Switch, Discharge pressure Switch, Actuator Supervisory switch UL Liisted Pe-Mall USA | 1 | Each | 0 | 0
B.13 | Supply of Discharge Nozzle Assembly 360 angle NPT Thread | 1 | Each | 0 | 0
B.14 | Supply of Exit Area Novec 1230 sign | 1 | Each | 0 | 0
B.15 | Supply of Piping network Sch 40 MS, & paint | 1 | Job | 0 | 0
B.16 | Supply of Flame Resistant paint | 1 | Job | 0 | 0
E | ROOM-E ¦ 10' X 9.5' X 12' |  |  | 0 | 0
B.1 | Supply of Photo Electric smoke with Base INIM | 1 | Each | 0 | 0
B.2 | Supply of Manual Pull Station for Fire Suppression release INIM | 1 | Each | 0 | 0
B.3 | Supply of Sounder with flasher INIM | 1 | Each | 0 | 0
B.4 | Supply of Fire Alarm INIM Bell | 1 | Each | 0 | 0
B.5 | Supply of Control Module INIM UL Listed | 1 | Each | 0 | 0
B.6 | Supply of Monitor Module INIM UL Listed | 1 | Each | 0 | 0
B.7 | Supply of System Abort Switch INIM | 1 | Each | 0 | 0
B.8 | Supply of Zone Disable switch INIM | 1 | Each | 0 | 0
B.9 | Supply of Relay Module INIM UL Listed | 1 | Each | 0 | 0
B.10 | Supply of Vesda VLF 250 with piping networking & accessories. | 1 | Each | 0 | 0
B.11 | Supply of Electrical wiring 1.5mm 2C (FR) & conduiting, back boxes etc. | 1 | Job | 0 | 0
B.12 | Supply of Container Assembly (Cylinder) with Accessories of cylinder. With 23 KG Novec 1230. Low Pressure Switch, Discharge pressure Switch, Actuator Supervisory switch UL Liisted Pe-Mall USA | 1 | Each | 0 | 0
B.13 | Supply of Discharge Nozzle Assembly 360 angle NPT Thread | 1 | Each | 0 | 0
B.14 | Supply of Exit Area Novec 1230 sign | 1 | Each | 0 | 0
B.15 | Supply of Piping network Sch 40 MS, & paint | 1 | Job | 0 | 0
B.16 | Supply of Flame Resistant paint | 1 | Job | 0 | 0
F | AREA-F¦ 9.5' X 9.5' X 12' |  |  | 0 | 0
B.1 | Supply of Photo Electric smoke with Base INIM | 1 | Each | 0 | 0
B.2 | Supply of Manual Pull Station for Fire Suppression release INIM | 1 | Each | 0 | 0
B.3 | Supply of Sounder with flasher INIM | 1 | Each | 0 | 0
B.4 | Supply of Fire Alarm INIM Bell | 1 | Each | 0 | 0
B.5 | Supply of Electrical wiring 1.5mm 2C (FR) & conduiting, back boxes etc. | 1 | Each | 0 | 0
B.6 | Supply of Flame Resistant paint | 1 | Each | 0 | 0
G | AREA-G ¦ 20' X 5' X 12' |  |  | 0 | 0
B.1 | Supply of Photo Electric smoke with Base INIM | 1 | Each | 0 | 0
B.2 | Supply of Manual Pull Station for Fire Suppression release INIM | 1 | Each | 0 | 0
B.3 | Supply of Sounder with flasher INIM | 1 | Each | 0 | 0
B.4 | Supply of Fire Alarm INIM Bell | 1 | Each | 0 | 0
B.5 | Supply of Electrical wiring 1.5mm 2C (FR) & conduiting, back boxes etc. | 1 | Each | 0 | 0
B.6 | Supply of Flame Resistant paint | 1 | Each | 0 | 0